## Survey Data
Feeder: | 803634 |  |  | Substation: | SEABOARD |  | Wind Zone: |  |  | Hardening Level: |  |  | Extreme Wind |  |  |  | SURVEY DATA | [65 empty] | Transmission Windloading Form
Pole Data | [8 empty] | Circuit 1 | Circuit 1 | Pull Off 1 | Pull Off 2 | Pull Off | Equipment | [6 empty] | Attachment Data | [25 empty] | Conductor Data | [5 empty] | Asset Data |  | GPS Coordinate |  | Guying Data
FPL ID | Pole Number | Pole Type | Owner | Access (Y/N) | Utility Pole Owner - Action Taken | Pole Height | Pole Class | Framing | Span Length (1) | Span Length (2) | Span Length (1) | Span Length (2) | Framing | Equip Type | Equip Quan. | Streetlight | Riser Type 1 | Riser Type 2 | No CATV Attachments | Total Size CATV | CATV 1 Attach Height | CATV 1 Attach Diameter | CATV 2 Attach Height | CATV 2 Attach Diameter | CATV 3 Attach Height | CATV 3 Attach Diameter | CATV 4 Attach Height | CATV 4 Attach Diameter | CATV 5 Attach Height | CATV 5 Attach Diameter | CATV 6 Attach Height | CATV 6 Attach Diameter | No Telecom Attached | Total Size Telecom | TELCO 1 Attach Height | TELCO 1 Attach Diameter | TELCO 2 Attach Height | TELCO 2 Attach Diameter | TELCO 3 Attach Height | TELCO 3 Attach Diameter | TELCO 4 Attach Height | TELCO 4 Attach Diameter | TELCO 5 Attach Height | TELCO 5 Attach Diameter | TELCO 6 Attach Height | TELCO 6 Attach Diameter | # of Phases | Primary Wire Type | Neutral Wire Type | Open Wire Type | # of Open Wires | Multiplex Type | Switch Number | TLN Coordinate | Latitude | Longitude | Guy 1 Assc. | Guy 1 Lead Length | Guy 1 Diameter | Guy 1 Bearing | Guy 2 Assc. | Guy 2 Lead Length | Guy 2 Diameter | Guy 2 Bearing | Guy 3 Assc. | Guy 3 Lead Length | Guy 3 Diameter | Guy 3 Bearing | Guy 4 Assc. | Guy 4 Lead Length | Guy 4 Diameter | Guy 4 Bearing | Guy 5 Assc. | Guy 5 Lead Length | Guy 5 Diameter | Guy 5 Bearing | Guy 6 Assc. | Guy 6 Lead Length | Guy 6 Diameter | Guy 6 Bearing | Pole Number | Contractor Comments | Current Wind Rating | Proposed Work (If Applicable) | Estimated Cost | New Wind Rating | LAT / LONG DELTA (In Feet) | Horizontal Pole Loading % | OBJECTID | ID | STATUS | USAGE | MATERIAL | HEIGHT | CLASS | TREATMENT | KIP_RATING | DEPTH | GRADE | ESTIMATE_ | ACCESSIBLE | STRUCTURE | BRAND_DATE | ESTIMATED_ | INSTALL_DA | MANUFACTUR | OWNER_TYPE | OWNER_NAME | CRITICAL | FPL_ID | ATTACHMENT | LEVEL | ATTACHED_ | MAP_NUMBER | MANAGEMENT | SERVICE_CE | FRAN_NAME_ | FRAN_TYPE | ZIPCODE | COUNTY_NAM | CATV | PHONE | X_COORD | Y_COORD | FPL_ATT | POLE_LOAD | AMS_LAT | AMS_LONG | FDR | Lateral_Mi | Feeder_Mil | SUB | MA | SVC | SYSTEM_VOL | PHASING | PHASE_ROTA | POINT_X | POINT_Y
271965535 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8244 | -80.2295
3860715 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8218 | -80.2317
239522059 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8246 | -80.2402
352078212 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.822 | -80.231
271416394 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8214 | -80.2307
4480281 | [8 empty] | 106' | 21' |  |  |  |  | 0 |  | PVC U-GUARD 5" |  | 0 |  | 21 | 0.25 | [10 empty] | 0 |  | 20 | 2 | [18 empty] | 25.8282 | -80.2389
346288398 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8246 | -80.2402
6128319 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8221 | -80.2321
6273771 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.825 | -80.2345
3666183 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.825 | -80.2348
6015735 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8246 | -80.2402
6128229 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8226 | -80.2346
PHID | [8 empty] | 191' | 145' | 191' |  |  |  | 0 |  |  |  | 0 |  | 21.33 | 0.25 | 20.58 | 0.75 | [8 empty] | 0 |  | 19.92 | 1.5 | [18 empty] | 25.8294 | -80.239
3714045 | [8 empty] | 145' | 205' | 69' | 44' |  |  | 0 |  |  |  | 0 |  | 21.58 | 0.25 | 20.25 | 0.75 | 21.58 | 0.25 | 20.25 | 1 | 21.58 | 0.25 | 20.25 | 0.25 | 0 |  | 18.83 | 1.5 | 18.83 | 1 | [16 empty] | 25.829 | -80.2389
157076664 | [8 empty] | 210' | 142' |  |  |  |  | 0 |  |  |  | 0 |  | 21.17 | 0.25 | [10 empty] | 0 | [21 empty] | 25.8285 | -80.2389 |  | 20' | 5/16" EHS | 88°
4395129 | [14 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8286 | -80.2391
6128025 | [8 empty] | 125' | 125' |  |  |  |  | 0 |  | PVC U-GUARD 5" |  | 0 | [13 empty] | 0 |  | 17.15 | 1 | [18 empty] | 25.8286 | -80.2396
4749789 | [8 empty] | 210' | 191' | 45' |  |  |  | 0 |  |  |  | 0 |  | 23.67 | 0.25 | [10 empty] | 0 |  | 19.83 | 1 | [18 empty] | 25.8285 | -80.2395 |  | 15' | 7/16" EHS | 266°
4725951 | [8 empty] | 103' | 120' |  |  |  |  | 0 |  |  |  | 0 | [13 empty] | 0 |  | 19.84 | 0.25 | [18 empty] | 25.8286 | -80.2397
4480227 | [8 empty] | 191' | 152' |  |  |  |  | 0 |  |  |  | 0 |  | 23.33 | 0.25 | [10 empty] | 0 | [21 empty] | 25.8284 | -80.2401
4523439 | [8 empty] | 179' | 70' |  |  |  |  | 0 |  | PVC U-GUARD 5" |  | 0 |  | 19.67 | 0.75 | [10 empty] | 0 | [21 empty] | 25.8284 | -80.2403 |  | 15' | 5/16" EHS | 75° |  | 15' | 5/16" EHS | 281°
348113800 | [8 empty] | 143' | 159' |  |  |  |  | 0 |  | PVC U-GUARD 5" |  | 0 | [13 empty] | 0 | [21 empty] | 25.8286 | -80.2403
4655463 | [8 empty] | 93' | 143' |  |  |  |  | 0 |  |  |  | 0 | [13 empty] | 0 |  | 21 | 1 | 20 | 1 | [16 empty] | 25.8285 | -80.2404
3647481 | 1 |  |  |  |  | 45 | 8.00 KIP CONC | 3ph-tan-tri-conc pole-45kv pc hor-e-21.0.0 f1 | 145' | 71' | 101' |  |  | 3Ø RISER / CO / LA ASSEMBLY | 1 |  | PVC U-GUARD 2" |  | 1 |  | 18.17 | 0.25 | [10 empty] | 1 |  | 15.25 | 1.5 | 20 | 1 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.848 | -80.2601 | [24 empty] | 1 | [6 empty] | 73
5247153 | 2 | [7 empty] | 31' | 32' |  |  |  |  | 0 |  | PVC U-GUARD 2" |  | 0 |  | 19.17 | 0.25 | [10 empty] | 0 |  | 19 | 1 | 18 | 1 | [16 empty] | 25.848 | -80.2603 |  | 23' | 5/16" EHS | 267° | [20 empty] | 2
273823563 | 3 | [7 empty] | 135' | 295' |  |  |  |  | 0 |  | PVC U-GUARD 2" |  | 0 | [13 empty] | 0 |  | 18 | 1 | 17 | 1 | [16 empty] | 25.8479 | -80.2603 | [24 empty] | 3
6099417 | 4 |  |  |  |  | 45 | 3 Wood | *3PH-TAN-Mod Ver-Wood Pole-45KV PC Hor-E-5.0.0 F1 | 36' | 71' | 109' |  | *1PH-DE-Vert-45KV Susp Poly-E-5.1.0 F4 |  | 0 |  |  |  | 1 |  | 18.42 | 1 | 18.42 | 1 | [8 empty] | 1 |  | 17.42 | 1.5 | 17.42 | 1.25 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8478 | -80.2601 |  | 7' | 9/16" EHS | 87° | [20 empty] | 4 | [6 empty] | 87
273860171 | 7 | [7 empty] | 21' | 205' |  |  |  |  | 0 |  | PVC U-GUARD 2" |  | 0 |  | 22.67 | 0.25 | [10 empty] | 0 |  | 21.58 | 2 | 21.42 | 1 | [16 empty] | 25.8475 | -80.2603 | [24 empty] | 7
4439883 | 8 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Mod Ver-Wood Pole-45KV PC Hor-E-5.0.0 F1 | 36' | 110' | 50' | 76' |  | TRAN 50 KVA | 6 |  | COND 2" |  | 1 |  | 18.17 | 1 | 21.3 | 1 | [8 empty] | 1 |  | 17.58 | 1.5 | 20.3 | 1.25 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8477 | -80.2601 | [24 empty] | 8 | [6 empty] | 152
4523721 | 9 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Tri-Conc Pole-45KV PC Hor-E-21.0.0 F1 | 110' | 54' |  |  |  | TRAN 25 KVA | 2 |  | COND 2" |  | 1 |  | 18.17 | 1 | [10 empty] | 1 |  | 17.67 | 1.5 | 19.42 | 1 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8474 | -80.2601 | [24 empty] | 9 | [6 empty] | 194
78275589 | 10 |  |  |  |  | 45 | 4 Wood | 3PH-DE-Xarm-9' HD Dbl Wood-35KV Susp Poly-E-9.0.0 F2 | 48' | 54' | 54' |  | 3PH-SLK SP DE-9' Dbl Wood-45KV PC Top Poly-E-29.0.0 F1A |  | 0 | Cobra Head - 6 ft | PVC U-GUARD 2" |  | 1 |  | 18.58 | 1 | 18.58 | 0.75 | [8 empty] | 1 |  | 17.33 | 1.5 | 20 | 1 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8472 | -80.2601 | [24 empty] | 10 | [6 empty] | 129
4457187 | 12 |  |  |  |  | 45 | 2 Wood | *3PH-SLK SP DE-5' 4" Stl-45KV PC Top Poly-E-29.0.0 F4A | 54' | 123' |  |  |  |  | 0 |  |  |  | 1 |  | 21.58 | 0.75 | [10 empty] | 0 |  | 20.58 | 1 | 15.42 | 1 | [8 empty] | 3 | 568 ACAR (15/4) Slack | 3/0 AAAC (7) Slack | [5 empty] | 25.8472 | -80.2599 |  | 30' | 9/16" EHS | 268° | [20 empty] | 12 | [6 empty] | 96
78275597 | 13 |  |  |  |  | 45 | 4 Wood | 3ph-de-xarm-9' hd dbl wood-35kv susp poly-e-9.0.0 f2 | 48' | 90' |  |  |  | TRAN 25 KVA | 1 |  | SHIELD 3" | SHIELD 3" | 1 |  | 19.6 | 1 | [10 empty] | 1 |  | 18.4 | 1.5 | 18.67 | 1 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8471 | -80.2601 |  | 20' | 7/16" EHS | 180° | [20 empty] | 13 | [6 empty] | 269
6099429 | 14 |  |  |  |  | 40 | 4 Wood | *3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 84' | 91' | 135' |  | *3ph-de-xarm-9' hd dbl wood-35kv susp poly-e-9.0.0 f2 | 3-LA | 1 |  |  |  | 1 |  | 19.75 | 0.75 | 19.75 | 0.25 | [8 empty] | 2 |  | 18.83 | 1.5 | 17.67 | 0.25 | 18.83 | 1.5 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8468 | -80.2601 |  | 18' | 1/2" AW | 88° |  | 15' | 9/16" EHS | 88° |  | 10' | 7/16" EHS | 180° | [12 empty] | 14 | [6 empty] | 64
273823564 | 16 | [7 empty] | 128' | 101' |  |  |  |  | 0 |  | COND 2" |  | 0 |  | 21.92 | 1.5 | 21 | 0.75 | [8 empty] | 0 |  | 20.25 | 1.75 | 19 | 1.25 | [16 empty] | 25.8468 | -80.2603 | [24 empty] | 16
4523679 | 17 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 135' | 38' |  |  |  | TRAN 37.5 KVA | 3 | Security Light |  |  | 1 |  | 20 | 0.25 | [10 empty] | 1 |  | 19 | 1.5 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) | 3 |  |  |  | 25.8468 | -80.2605 |  | 20' | 5/16" EHS | 176° | [20 empty] | 17 | [6 empty] | 221
4523667 | 18 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' dbl wood-35kv pc top-e-6.0.0 f2 | 164' | 38' | 128' |  |  |  | 0 | Open Bottom - 4 ft |  |  | 1 |  | 19.75 | 0.25 | [10 empty] | 1 |  | 18.58 | 1.5 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) | 3 |  |  |  | 25.8468 | -80.2606 |  | 9' | 5/16" EHS | 90° | [20 empty] | 18 | [6 empty] | 260
4523559 | 19 |  |  |  |  | 45 | 3 Wood | *3PH-TAN-Xarm-9' Dbl Wood-35KV PC Top-E-6.0.0 F2 | 164' | 38' | 33' |  |  | TRAN 50 KVA | 3 |  |  |  | 1 |  | 20 | 0.25 | [10 empty] | 1 |  | 19 | 1.5 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) | 3 |  |  |  | 25.8468 | -80.2611 |  | 12' | 5/16" EHS | 268° | [20 empty] | 19 | [6 empty] | 258
4395135 | 20 |  |  |  |  | 45 | 3 Wood | *3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 93' | 43' |  |  |  | TRAN 50 KVA | 3 |  |  |  | 1 |  | 17.17 | 0.25 | [10 empty] | 1 |  | 16.5 | 1.5 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8468 | -80.2614 |  | 15' | 9/16" EHS | 268° | [20 empty] | 20 | [6 empty] | 157
4523481 | 21 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 151' | 43' |  |  |  | TRAN 75 KVA (Bank) | 3 |  |  |  | 1 |  | 18.57 | 0.25 | [10 empty] | 1 |  | 17.92 | 1.5 | 18.75 | 1 | 16.08 | 1 | [6 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8468 | -80.2615 | [24 empty] | 21 | [6 empty] | 264
379688791 | 22 |  |  |  |  | 40 | 2 Wood | *3ph-de-xarm-9' hd dbl wood-45kv susp poly-e-9.0.0 f2 | 151' | 43' |  |  |  | TRAN 75 KVA (Bank) | 3 |  | PVC U-GUARD 2" |  | 1 |  | 16.33 | 0.25 | [10 empty] | 0 |  | 23.4167 | 1 | 20.8333 | 1 | 18.6667 | 1 | [6 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8468 | -80.262 |  | 22' | 7/16" EHS | 270° | [20 empty] | 22 | [6 empty] | 141
348946531 | 23 |  |  |  |  | 55 | 8.00 KIP CONC | 3ph-de-xarm-8' 10" dbl fg-45kv susp poly-e-10.0.0 f3 | 43' | 108' | 206' | 218' | 3ph-tan-mod ver-conc pole-45kv pt poly-e-5.0.0 f2 |  | 0 |  |  |  | 0 |  | 23 | 0.75 | 17.66 | 1 | [8 empty] | 1 |  | 23 | 0.75 | 22 | 2 | 19 | 1 | [6 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8468 | -80.2621 | [24 empty] | 23 | [6 empty] | 90
239525308 | 24 |  |  |  |  | 45 | 4 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 84' | 17' |  |  |  | TRAN 50 KVA | 3 |  | SHIELD 5" |  | 1 |  | 20.33 | 0.75 | [10 empty] | 1 |  | 18.42 | 1.5 | 21.4167 | 1 | 18.5833 | 1 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8466 | -80.2601 | [24 empty] | 24 | [6 empty] | 178
6099435 | 25 |  |  |  |  | 45 | 4 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 117' | 17' |  |  |  | TRAN 25 KVA | 3 |  |  |  | 1 |  | 21.42 | 0.75 | [10 empty] | 1 |  | 20.17 | 1.5 | 19.1667 | 1 | 17.1667 | 1 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 6 AL DPX Slack |  |  | 25.8466 | -80.2601 | [24 empty] | 25 | [6 empty] | 307
5247261 | 26 | [7 empty] | 36' | 63' | 158' |  |  |  | 0 |  |  |  | 0 |  | 21.83 | 0.75 | 21.83 | 1 | [8 empty] | 0 |  | 20.75 | 1.25 | 19.83 | 1 | 18 | 1 | [14 empty] | 25.8465 | -80.2602 |  | 26' | 7/16" EHS | 178° | [20 empty] | 26
4439889 | 27 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 125' | 109' | 99' | 96' |  | 3Ø RISER / CO / LA ASSEMBLY | 2 | Cobra Head - 6 ft | PVC U-GUARD 5" | PVC U-GUARD 5" | 1 |  | 19.64 | 1 | 21.67 | 0.75 | [8 empty] | 1 |  | 18.04 | 1.5 | 19.17 | 1 | 19.5 | 1.5 | 18 | 1.5 |  |  |  |  | 3 | 336 ACSR (18/1) | 3/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8463 | -80.2601 |  | 25' | 7/16" EHS | 358° |  | 25' | 7/16" EHS | 90° | [16 empty] | 27 | [6 empty] | 181
273801600 | 28 | [7 empty] | 63' | 101' |  |  |  |  | 0 |  |  |  | 0 |  | 21.17 | 0.75 | [10 empty] | 0 |  | 19.92 | 1.25 | 18.83 | 1 | 20.0833 | 1 | [14 empty] | 25.8463 | -80.2602 | [24 empty] | 28
4439895 | 29 |  |  |  |  | 45 | 4 Wood | 3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f1 | 109' | 36' |  |  |  | TRAN 10 KVA (Bank) | 3 |  | PVC U-GUARD 2" |  | 1 |  | 22 | 0.75 | [10 empty] | 1 |  | 18.08 | 1 | 20 | 1 | 18.58 | 1 | [6 empty] | 3 | 336 ACSR (18/1) | 3/0 ACSR (6/1) | [5 empty] | 25.846 | -80.2601 |  | 15' | 5/16" EHS | 178° | [20 empty] | 29 | [6 empty] | 310
3983673 | 30 |  |  |  |  | 45 | 6.00 KIP CONC | 3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f1 | 36' | 209' |  |  |  | 3Ø RISER / CO / LA ASSEMBLY | 1 |  | PVC U-GUARD 5" |  | 0 |  | 20.5 | 1 | [10 empty] | 1 |  | 17.33 | 0.25 | 18.33 | 1.25 | 16.9 | 1 | [6 empty] | 3 | 343 ACAR (15/4) Slack | 3/0 AAAC (7) Slack |  | 1 | 3/0 AL QPX SEC |  |  | 25.8459 | -80.2601 | [24 empty] | 30 | [6 empty] | 128
273823580 | 31 | [7 empty] | 18' | 50' | 68' |  |  |  | 0 |  |  |  | 0 |  | 20.55 | 1.5 | [10 empty] | 0 |  | 22.7 | 0.75 | 21.69 | 0.75 | 19.33 | 1 | [14 empty] | 25.8458 | -80.2602 |  | 18' | 7/16" EHS | 262° | [20 empty] | 31
4046505 | 32 |  |  |  |  | 45 | 6.00 KIP CONC | 3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f1 | 73' | 216' |  |  |  | 3Ø RISER / CO / LA ASSEMBLY | 1 |  | SHIELD 5" | PVC U-GUARD 2" | 1 |  | 16.0833 | 0.25 | [10 empty] | 1 |  | 15.5833 | 0.75 | 20.92 | 0.75 | 19.25 | 1 | [6 empty] | 3 | 343 ACAR (15/4) Slack | 3/0 AAAC (7) Slack |  | 1 | 2 AL TPX SEC |  |  | 25.8452 | -80.26 | [24 empty] | 32 | [6 empty] | 185
4758069 | 33 |  |  |  |  | 45 | 2 Wood | 3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f1 | 73' | 131' | 135' |  | 3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f1 |  | 0 | Security Light |  |  | 1 |  | 21.39 | 0.25 | 21.4167 | 0.25 | [8 empty] | 1 |  | 17.89 | 0.75 | 19.5 | 0.75 | [8 empty] | 3 | 336 ACSR (18/1) | 3/0 ACSR (6/1) |  | 1 | 2 AL TPX SEC |  |  | 25.845 | -80.26 |  | 20' | 1/2" AW | 359° |  | 26' | 7/16" EHS | 85° | [16 empty] | 33 | [6 empty] | 76
6362055 | 35 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 131' | 55' | 196' | 150' |  | TRAN 37.5 KVA (Bank) | 2 | Security Light |  |  | 2 |  | 18.15 | 0.25 | 17.27 | 1.5 | [8 empty] | 1 |  | 16.46 | 1 | 20.3 | 0.25 | 18.3 | 1 | 21.3 | 1 | 18.3 | 1 | 17.3 | 1 | 3 | 336 ACSR (18/1) | 3/0 ACSR (6/1) | 1/0 AAAC (7) | 3 |  |  |  | 25.8446 | -80.26 |  | 20' | 5/16" EHS | 178° | [20 empty] | 35 | [6 empty] | 157
3868251 | 36 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 55' | 148' |  |  |  | CAP 1200 KVAR | 1 | Security Light |  |  | 2 |  | 17.61 | 0.25 | 16.52 | 1.5 | [8 empty] | 1 |  | 15.63 | 1 | 20.75 | 0.25 | 18.75 | 0.75 | [6 empty] | 3 | 336 ACSR (18/1) | 3/0 ACSR (6/1) | 1/0 AAAC (7) | 3 |  |  |  | 25.8445 | -80.26 |  | 23' | 5/16" EHS | 357° | [20 empty] | 36 | [6 empty] | 146
3920031 | 37 |  |  |  |  | 50 | 8.00 KIP CONC | 3ph-de-xarm-8' 6" stl-45kv susp poly-e-10.0.0 f1 | 150' | 105' | 91' |  | 3ph-de-xarm-5' 4" stl-45kv susp poly-e-11.0.0 f1 | AT&T (16x30x31) | 1 |  |  |  | 1 |  | 19.86 | 0.25 | 19.86 | 1.5 | [8 empty] | 2 |  | 18.5 | 1.5 | 17.5 | 1.5 | 18.5 | 2 | 18.75 | 0.75 |  |  |  |  | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8441 | -80.26 | [24 empty] | 37 | [6 empty] | 156
354249705 | 40 | [7 empty] | 119' | 152' | 109' |  |  |  | 0 |  |  |  | 0 |  | 23.11 | 0.75 | [10 empty] | 0 |  | 21.58 | 0.25 | 20.58 | 0.25 | 18.5 | 1.5 | 18.5 | 0.25 | [12 empty] | 25.8441 | -80.2598 |  | 10' | 5/16" EHS | 268° | [20 empty] | 40
4480353 | 41 |  |  |  |  | 40 | 2 Wood | 3ph-slk sp de-9' dbl wood-35kv pc top-e-29.0.0 f1a | 105' | 214' | 166' | 135' |  |  | 0 | Cobra Head - 6 ft |  |  | 1 |  | 19.8333 | 1.5 | 19.75 | 1 | [8 empty] | 2 |  | 18.8333 | 0.25 | 17.8333 | 1 | 17.75 | 1.5 | 17.75 | 0.25 | 18.75 | 1 |  |  | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8438 | -80.26 |  | 25' | 7/16" EHS | 180° |  | 28' | 9/16" EHS | 180° | [16 empty] | 41 | [6 empty] | 90
241064398 | 42 |  |  |  |  | 50 | 2 Wood | *3ph-tan-xarm-5' 4" stl-35kv pc top-e-6.0.1 f3 | 38' | 90' | 125' |  |  |  | 0 |  | PVC U-GUARD 5" |  | 1 |  | 19.22 | 1 | [10 empty] | 1 |  | 15.83 | 1.5 | 20.17 | 1 | 19.17 | 1 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.844 | -80.2603 |  | 21' | 5/16" EHS | 90° |  | 25' | 9/16" EHS | 90° | [16 empty] | 42 | [6 empty] | 138
6099405 | 43 |  |  |  |  | 50 | 2 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 119' | 38' | 156' | 218' |  | TRAN 75 KVA | 3 |  | PVC U-GUARD 2" |  | 1 |  | 19.5 | 1 | 21.75 | 1 | [8 empty] | 1 |  | 17.41 | 1.5 | 19.9167 | 1 | 19.1667 | 1 | 20.3333 | 1.5 |  |  |  |  | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.844 | -80.2604 | [24 empty] | 43 | [6 empty] | 157
4523643 | 44 |  |  |  |  | 50 | 2 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 136' | 119' |  |  |  | TRAN 75 KVA | 3 |  |  |  | 1 |  | 19.67 | 1 | 21.8 | 0.25 | [8 empty] | 1 |  | 14.25 | 1.5 | 19.34 | 1 | 17.84 | 1 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.844 | -80.2607 | [24 empty] | 44 | [6 empty] | 194
4523571 | 45 |  |  |  |  | 50 | 2 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 157' | 136' | 217' | 135' |  | TRAN 75 KVA | 2 |  |  |  | 1 |  | 22.32 | 1 | 19.91 | 1.5 | [8 empty] | 1 |  | 19.36 | 1.5 | 18.91 | 1.5 | 17.91 | 1 | 18.92 | 1 | 21.91 | 0.25 |  |  | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.844 | -80.2612 | [24 empty] | 45 | [6 empty] | 181
4439829 | 46 |  |  |  |  | 50 | 2 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 71' | 157' | 61' |  |  | TRAN 75 KVA | 3 |  |  |  | 1 |  | 23.25 | 1 | 21.12 | 0.25 | [8 empty] | 1 |  | 19.17 | 1.5 | 17.29 | 1 | 20.61 | 1 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.844 | -80.2616 | [24 empty] | 46 | [6 empty] | 173
4749945 | 47 |  |  |  |  | 50 | 2 Wood | 3PH-DE-Xarm-9' HD Dbl Wood-45KV Susp Poly-E-9.0.0 F2 | 55' | 71' | 125' | 155' |  | TRAN 25 KVA | 3 | Open Bottom - 4 ft |  |  | 1 |  | 21.25 | 1 | 20.47 | 0.75 | [8 empty] | 1 |  | 19.1667 | 1.5 | 19.4167 | 1.5 | 18.8333 | 1 | 19.75 | 1.25 |  |  |  |  | 3 | 568 ACAR (15/4) Slack | 3/0 AAAC (7) Slack |  | 1 | 1/0 AL TPX Slack |  |  | 25.844 | -80.2618 |  | 30' | 7/16" EHS | 265° |  | 27' | 7/16" EHS | 265° |  | 24' | 5/16" EHS | 265° | [12 empty] | 47 | [6 empty] | 135
4744887 | 48 |  |  |  |  | 50 | 2 Wood | 3PH-DE-Xarm-5' 4" Stl-45KV Susp Poly-E-11.0.0 F1 | 55' | 211' | 220' | 220' |  | TRAN 25 KVA | 4 |  |  |  | 1 |  | 21.42 | 1 | 21.29 | 1 | [8 empty] | 1 |  | 20.33 | 1.5 | 19.2 | 1 | 20 | 1 | [6 empty] | 3 | 568 ACAR (15/4) Slack | 3/0 AAAC (7) Slack |  | 1 | 1/0 AL TPX Slack |  |  | 25.844 | -80.262 | [24 empty] | 48 | [6 empty] | 341
3624231 | 49 |  |  |  |  | 55 | 8.00 KIP CONC | 3PH-TAN-Xarm-8' 6" Stl-35KV PT Poly-E-6.0.1 F1 | 210' | 103' | 166' | 112' |  |  | 0 |  | COND 2" |  | 1 |  | 21 | 1 | 20.58 | 1.5 | [8 empty] | 1 |  | 20 | 1 | 19.5 | 1.5 | 19.5 | 1 | 22.08 | 0.25 | 18.58 | 0.75 |  |  | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8434 | -80.262 | [24 empty] | 49 | [6 empty] | 85
352078264 | 51 |  |  |  |  | 50 | 2 Wood | *3ph-tan-xarm-8' 6" stl-45kv pt poly-e-6.0.1 f1 | 190' | 238' |  |  |  |  | 0 |  |  |  | 1 |  | 20.67 | 0.25 | [10 empty] | 0 |  | 22.58 | 0.75 | 20.33 | 1.5 | 19.42 | 1 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8435 | -80.2623 | [24 empty] | 51 | [6 empty] | 120
350128376 | 52 |  |  |  |  | 45 | 2 Wood | *3PH-TAN-Xarm-8' 6" Stl-45KV PC Top Poly-E-6.0.1 F1 | 190' | 106' | 81' | 70' |  |  | 0 |  |  |  | 1 |  | 19 | 1 | 20.32 | 0.25 | [8 empty] | 0 |  | 22.2 | 1 | 21.1 | 1 | [8 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | [5 empty] | 25.8435 | -80.2618 | [24 empty] | 52 | [6 empty] | 89
350134081 | 53 |  |  |  |  | 50 | 2 Wood | 3PH-TAN-Mod Ver-Wood Pole-45KV PT Poly-E-5.0.0 F1 | 106' | 134' |  |  |  |  | 0 |  |  |  | 1 |  | 19.17 | 1 | [10 empty] | 0 | [13 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | [5 empty] | 25.8435 | -80.2614 | [24 empty] | 53 | [6 empty] | 73
350134075 | 54 |  |  |  |  | 50 | 8.00 KIP CONC | 3PH-TAN-Mod Ver-Wood Pole-45KV PT Poly-E-5.0.0 F1 | 134' | 87' |  |  |  | CAP 1200 KVAR | 1 | Cobra Head - 6 ft |  |  | 1 |  | 20.25 | 1 | [10 empty] | 0 | [13 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8435 | -80.261 | [24 empty] | 54 | [6 empty] | 61
350134083 | 55 |  |  |  |  | 45 | 1 Wood | 3PH-TAN-Mod Ver-Wood Pole-45KV PT Poly-E-5.0.0 F1 | 87' | 47' | 37' |  |  |  | 0 |  | PVC U-GUARD 2" |  | 1 |  | 17.33 | 1 | [10 empty] | 0 |  | 21 | 1.25 | 19.67 | 0.25 | [8 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8435 | -80.2608 |  | 18' | 7/16" EHS | 88° |  | 25' | 7/16" EHS | 265° | [16 empty] | 55 | [6 empty] | 116
350134100 | 56 |  |  |  |  | 45 | 1 Wood | 3PH-TAN-Mod Ver-Wood Pole-45KV PT Poly-E-5.0.0 F1 | 47' | 103' |  |  |  |  | 0 |  | SHIELD 2" |  | 1 |  | 15.42 | 1 | [10 empty] | 0 | [13 empty] | 3 | 1/0 AAAC (7) Slack | 1/0 AAAC (7) Slack |  | 1 | 6 AL DPX Slack |  |  | 25.8434 | -80.2607 |  | 15' | 7/16" EHS | 358° | [20 empty] | 56 | [6 empty] | 106
239520010 | 57 |  |  |  |  | 50 | 8.00 KIP CONC | 3PH-TAN-Xarm-8' 6" Stl-35KV PT-E-6.0.1 F1 | 103' | 74' |  |  |  | 3Ø RISER / CO / LA ASSEMBLY | 2 | Cobra Head - 6 ft | PVC U-GUARD 5" | PVC U-GUARD 5" | 1 |  | 20.67 | 1 | [10 empty] | 0 |  | 19.08 | 1.75 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8431 | -80.2606 | [24 empty] | 57 | [6 empty] | 62
350134068 | 58 |  |  |  |  | 50 | 8.00 KIP CONC | 3ph-tan-xarm-8' 6" stl-35kv pt-e-6.0.1 f1 | 74' | 30' |  |  |  | TRAN 167 KVA | 3 |  |  |  | 1 |  | 19.17 | 1 | [10 empty] | 0 | [13 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8429 | -80.2606 | [24 empty] | 58 | [6 empty] | 114
350134055 | 59 |  |  |  |  | 45 | 2 Wood | 3ph-tan-xarm-8' 6" stl-35kv pt-e-6.0.1 f1 | 30' | 128' |  |  |  | 3-CO, 3-LA TRI-MOUNT BKT | 1 |  | PVC U-GUARD 5" |  | 1 |  | 19.17 | 1 | [10 empty] | 0 |  | 19.92 | 1.75 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 3/0 AL QPX LASHED SEC |  |  | 25.8428 | -80.2606 | [24 empty] | 59 | [6 empty] | 136
5246895 | 60 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8429 | -80.2605 | [24 empty] | 60
3906507 | 61 |  |  |  |  | 50 | 2 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 103' | 129' |  |  |  | TRAN 75 KVA | 3 | Security Light |  |  | 1 |  | 22 | 1 | [10 empty] | 1 |  | 21 | 1 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8431 | -80.262 | [24 empty] | 61 | [6 empty] | 257
272247365 | 62 | [7 empty] | 77' | 82' | 37' |  |  |  | 0 |  |  |  | 0 |  | 20.17 | 0.75 | 20.17 | 0.25 | [8 empty] | 0 |  | 18.66 | 1 | [18 empty] | 25.8428 | -80.2621 |  | 20' | 9/16" EHS | 172° | [20 empty] | 62
3906513 | 63 |  |  |  |  | 50 | 2 Wood | 3ph-tan-xarm-5' 4" stl-45kv pc top poly-e-6.0.1 f3 | 129' | 192' |  |  |  | TRAN 25 KVA | 1 |  |  |  | 1 |  | 24.25 | 1 | [10 empty] | 1 |  | 23.25 | 1 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 2 AL TPX SEC |  |  | 25.8428 | -80.262 | [24 empty] | 63 | [6 empty] | 209
272372190 | 64 | [7 empty] | 125' | 129' |  |  |  |  | 0 |  |  |  | 0 |  | 19.5 | 0.75 | [10 empty] | 0 |  | 17.75 | 1 | [18 empty] | 25.8423 | -80.2621 | [24 empty] | 64
4766031 | 65 |  |  |  |  | 70 | 1 Wood | 3ph-tan-xarm-5' 4" stl-69kv pc top poly-e-6.0.1 f3 | 105' | 192' |  |  |  | TRAN 75 KVA | 2 |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8422 | -80.2619 | [24 empty] | 65 | [6 empty] | 164
5241753 | 66 |  |  |  |  | 70 | 1 Wood | 3ph-tan-xarm-5' 4" stl-69kv pc top poly-e-6.0.1 f3 | 92' | 105' |  |  |  |  | 0 |  |  |  | 0 |  | 21.46 | 0.75 | [10 empty] | 0 |  | 19.85 | 1 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8419 | -80.2619 | [24 empty] | 66 | [6 empty] | 90
273862386 | 67 | [7 empty] | 38' | 86' | 164' |  |  |  | 0 |  |  |  | 0 |  | 20.03 | 0.75 | [10 empty] | 0 |  | 18.53 | 1 | [18 empty] | 25.8417 | -80.2621 |  | 25' | 7/16" EHS | 358° |  | 20' | 5/16" EHS | 358° | [16 empty] | 67
3543566 | 68 |  |  |  |  | 55 | 2 Wood | 3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f1 | 96' | 92' | 191' | 151' |  |  | 0 |  |  |  | 1 |  | 22.75 | 1 | 22.75 | 1 | 22.75 | 1 | [6 empty] | 1 |  | 21 | 1.5 | 19.83 | 1 | 19.83 | 1 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 ACSR (6/1) | [5 empty] | 25.8417 | -80.2619 |  | 20' | 5/16" EHS | 178° |  | 25' | 7/16" EHS | 178° | [16 empty] | 68 | [6 empty] | 107
5241867 | 69 |  |  |  |  | 50 | 2 Wood | 3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f1 | 79' | 96' | 66' |  |  |  | 0 |  |  |  | 1 |  | 21.18 | 1 | [10 empty] | 1 |  | 20 | 1.5 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8414 | -80.2619 | [24 empty] | 69 | [6 empty] | 95
4656573 | 70 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 96' | 92' | 130' | 124' |  | TRAN 50 KVA | 1 |  |  |  | 1 |  | 20.5 | 1 | 20.5 | 1 | [8 empty] | 1 |  | 17.17 | 1.5 | 18.5833 | 1.5 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8412 | -80.2619 | [24 empty] | 70 | [6 empty] | 184
272270465 | 71 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8411 | -80.2621 | [24 empty] | 71
5241951 | 72 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 109' | 109' |  |  |  |  | 0 |  |  |  | 1 |  | 21.33 | 1 | [10 empty] | 1 |  | 20.17 | 1.5 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8409 | -80.2619 | [24 empty] | 72 | [6 empty] | 130
-99993 | 73 | [7 empty] | 99' | 97' |  |  |  |  | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8407 | -80.2621 | [24 empty] | 73
5241945 | 74 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-5' 4" stl-35kv pc top poly-e-6.0.1 f3 | 109' | 109' |  |  |  |  | 0 |  |  |  | 1 |  | 21.17 | 1 | [10 empty] | 1 |  | 19.67 | 1.5 | [10 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8406 | -80.2619 | [24 empty] | 74 | [6 empty] | 129
273862391 | 75 | [7 empty] | 77' | 97' | 37' |  |  |  | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8405 | -80.262 | [24 empty] | 75
269159736 | 76 |  |  |  |  | 45 | 3 Wood | *3PH-TAN-Xarm-5' 4" Stl-35KV PC Top Poly-E-6.0.1 F3 | 109' | 98' | 95' | 84' |  |  | 0 |  |  |  | 1 |  | 20.67 | 1 | 20.67 | 1 | [8 empty] | 1 |  | 17.75 | 1.5 | 19.5 | 1.25 | 19 | 1.25 | [6 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8403 | -80.2619 |  | 25' | 7/16" EHS | 90° | [20 empty] | 76 | [6 empty] | 155
6276585 | 77 |  |  |  |  | 45 | 4 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 33' | 88' | 47' |  |  |  | 0 |  |  |  | 1 |  | 19.17 | 1 | [10 empty] | 1 |  | 17.83 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8403 | -80.2622 | [24 empty] | 77 | [6 empty] | 103
4656369 | 78 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 110' | 33' |  |  |  | TRAN 25 KVA | 1 |  | PVC U-GUARD 2" |  | 1 |  | 18.75 | 1 | [10 empty] | 1 |  | 17.42 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8403 | -80.2623 | [24 empty] | 78 | [6 empty] | 95
4771533 | 79 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 71' | 110' |  |  |  |  | 0 |  |  |  | 1 |  | 17.65 | 1 | [10 empty] | 1 |  | 16.38 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8403 | -80.2626 | [24 empty] | 79 | [6 empty] | 112
4771521 | 80 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 128' | 71' |  |  |  | TRAN 25 KVA | 1 |  |  |  | 1 |  | 16.39 | 0.75 | [10 empty] | 1 |  | 14.63 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8403 | -80.2628 | [24 empty] | 80 | [6 empty] | 139
4655961 | 81 |  |  |  |  | 40 | 2 Wood | *3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 76' | 125' |  |  |  | TRAN 50 KVA | 1 |  |  |  | 1 |  | 17.75 | 0.75 | [10 empty] | 1 |  | 15.09 | 1 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8403 | -80.2632 | [24 empty] | 81 | [6 empty] | 112
4550373 | 82 |  |  |  |  | 40 | 4 Wood | *3PH-DE-Xarm-9' Dbl Wood-35KV Susp Poly-E-9.0.0 F2 | 150' | 88' |  |  |  |  | 0 |  | COND 2" |  | 1 |  | 17.13 | 0.75 | [10 empty] | 1 |  | 14.78 | 1 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8403 | -80.2634 | [24 empty] | 82 | [6 empty] | 175
6099393 | 83 |  |  |  |  | 45 | 3 Wood | 3ph-tan-tri-hpb-35kv pt-e-21.0.0 f1 | 135' | 51' |  |  |  |  | 0 |  |  |  | 1 |  | 19.92 | 0.75 | [10 empty] | 1 |  | 18.92 | 1 | [10 empty] | 3 | 336 ACSR (18/1) | 3/0 AAAC (7) | 2 AAAC (7) | 3 |  |  |  | 25.845 | -80.2603 | [24 empty] | 83 | [6 empty] | 107
271390182 | 84 |  |  |  |  | 45 | 3 Wood | 3ph-tan-tri-hpb-35kv pt-e-21.0.0 f1 | 51' | 111' | 95' |  |  | TRAN 50 KVA (Bank) | 3 | Cobra Head - 2 ft |  |  | 1 |  | 19.42 | 0.75 | [10 empty] | 1 |  | 18.67 | 1 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) | 3 |  |  |  | 25.8449 | -80.2604 | [24 empty] | 84 | [6 empty] | 153
4523601 | 85 |  |  |  |  | 45 | 2 Wood | 3PH-TAN-Tri-HPB-35KV PT Poly-E-21.0.0 F1 | 111' | 148' | 30' |  |  | TRAN 50 KVA (Bank) | 2 | Open Bottom - 2 ft |  |  | 1 |  | 17.75 | 0.75 | [10 empty] | 1 |  | 16.58 | 1 | 16.58 | 0.75 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) | 3 |  |  |  | 25.8449 | -80.2609 | [24 empty] | 85 | [6 empty] | 135
4523511 | 86 |  |  |  |  | 45 | 2 Wood | *3PH-TAN-Tri-HPB-35KV PT Poly-E-21.0.0 F1 | 148' | 221' | 30' | 38' |  | TRAN 50 KVA (Bank) | 3 |  |  |  | 1 |  | 17 | 0.75 | 21.83 | 1 | [8 empty] | 1 |  | 15.83 | 1 | 15.83 | 0.75 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8449 | -80.2614 |  | 15' | 5/16" EHS | 177° | [20 empty] | 86 | [6 empty] | 188
3912507 | 87 |  |  |  |  | 45 | 2 Wood | *3PH-TAN-Tri-HPB-35KV PT Poly-E-21.0.0 F1 | 221' | 98' | 108' |  |  | TRAN 37.5 KVA (Bank) | 4 |  | COND 2" |  | 0 |  | 21 | 0.75 | [10 empty] | 2 |  | 21 | 0.75 | 20 | 1 | 20 | 1 | [6 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8449 | -80.262 | [24 empty] | 87 | [6 empty] | 155
3912495 | 88 |  |  |  |  | 45 | 2 Wood | *3ph-tan-tri-hpb-35kv pt poly-e-21.0.0 f1 | 98' | 40' |  |  |  |  | 0 | Cobra Head - 2 ft |  |  | 1 |  | 19.36 | 1.5 | [10 empty] | 1 |  | 18.19 | 1 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 1 |  |  |  | 25.8449 | -80.2623 | [24 empty] | 88 | [6 empty] | 91
270741654 | 89 | [7 empty] | 224' | 97' | 145' |  |  |  | 0 |  |  |  | 0 |  | 21.4167 | 0.25 | [10 empty] | 0 |  | 20.1667 | 1 | [18 empty] | 25.845 | -80.2623 |  | 13' | 5/16" EHS | 355° |  | 3' | 5/16" EHS | 78° | [16 empty] | 89
3860859 | 90 |  |  |  |  | 45 | 4 Wood | 3ph-tan-tri-hpb-35kv pt-e-21.0.0 f1 | 40' | 81' | 88' |  |  | TRAN 50 KVA | 1 | Cobra Head - 2 ft |  |  | 0 | [13 empty] | 2 |  | 18.73 | 1.25 | 16.62 | 0.75 | 17.62 | 1 | [6 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 1 |  |  |  | 25.8449 | -80.2625 | [24 empty] | 90 | [6 empty] | 163
270741652 | 91 | [7 empty] | 98' | 111' |  |  |  |  | 0 |  |  |  | 0 |  | 19.58 | 0.75 | [10 empty] | 0 |  | 18.58 | 1 | [18 empty] | 25.845 | -80.2626 | [24 empty] | 91
6130227 | 92 |  |  |  |  | 45 | 3 Wood | *3ph-tan-tri-wood pole-45kv pt poly-e-21.0.0 f1 | 122' | 81' | 74' | 55' |  |  | 0 | Open Bottom - 2 ft |  |  | 0 |  | 18.75 | 0.75 | [10 empty] | 2 |  | 16.07 | 1.25 | 14.75 | 1 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8449 | -80.2627 |  | 23' | 5/16" EHS | 95° | [20 empty] | 92 | [6 empty] | 141
271415980 | 93 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.845 | -80.263 | [24 empty] | 93
6130101 | 94 |  |  |  |  | 50 | 3 Wood | *3ph-tan-tri-hpb-45kv pt poly-e-21.0.0 f1 | 122' | 59' | 115' |  | *3ph-tan-tri-hpb-45kv pt poly-e-21.0.0 f1 | TRAN 100 KVA (Bank) | 4 | Open Bottom - 2 ft |  |  | 0 |  | 20.17 | 0.75 | [10 empty] | 2 |  | 20 | 1.25 | 19 | 1 | 20 | 1.25 | 19 | 1 |  |  |  |  | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8449 | -80.2631 |  | 5' | 5/16" EHS | 179° |  | 20' | 7/16" EHS | 270° | [16 empty] | 94 | [6 empty] | 214
270741650 | 95 | [7 empty] | 111' | 54' |  |  |  |  | 0 |  |  |  | 0 |  | 20.5 | 0.75 | [10 empty] | 0 |  | 19.67 | 1 | 18.92 | 1 | [16 empty] | 25.845 | -80.2634 | [24 empty] | 95
6129993 | 96 |  |  |  |  | 45 | 2 Wood | *3ph-tan-tri-hpb-45kv pt poly-e-21.0.0 f1 | 115' | 87' |  |  |  |  | 0 | Open Bottom - 2 ft |  |  | 0 |  | 20.83 | 0.75 | [10 empty] | 2 |  | 16.5833 | 1.25 | 15.5833 | 1 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8449 | -80.2634 |  | 15' | 5/16" EHS | 267° | [20 empty] | 96 | [6 empty] | 98
325299001 | 97 |  |  |  |  | 45 | 2 Wood | 3PH-TAN-Tri-HPB-35KV PT Poly-E-21.0.0 F1 | 81' | 61' |  |  |  | TRAN 50 KVA | 1 |  | PVC U-GUARD 2" |  | 0 | [13 empty] | 2 |  | 20 | 1.25 | 19 | 1 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8448 | -80.2637 | [24 empty] | 97 | [6 empty] | 88
4456731 | 98 |  |  |  |  | 45 | 3 Wood | *3PH-TAN-Tri-HPB-45KV PT Poly-E-21.0.0 F1 | 64' | 62' | 77' |  |  | TRAN 50 KVA | 1 | Open Bottom - 2 ft |  |  | 0 |  | 20.54 | 0.75 | [10 empty] | 2 |  | 19.4167 | 1.25 | 15.4167 | 1 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8448 | -80.2639 | [24 empty] | 98 | [6 empty] | 116
350171282 | 99 |  |  |  |  | 45 | 3 Wood | *3ph-de-xarm-8' 6" stl-45kv susp poly-e-10.0.0 f1 | 71' | 48' | 175' | 65' | * |  | 0 | Open Bottom - 2 ft | PVC U-GUARD 2" |  | 0 | [13 empty] | 3 |  | 20.17 | 1.25 | 19.08 | 1 | 18 | 1 | 20.17 | 1.25 | 19.08 | 1 | 18 | 1 | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | 2 AAAC (7) Slack | 2 |  |  |  | 25.8448 | -80.2641 | [24 empty] | 99 | [6 empty] | 212
3912351 | 101 |  |  |  |  | 40 | 6.00 KIP CONC | 3PH-DE-Xarm-5' 4" Stl-35KV Susp Poly-E-11.0.0 F3 | 65' |  |  |  |  | 3-CO TRI-MOUNT BKT | 1 |  | SHIELD 5" |  | 0 | [13 empty] | 1 |  | 17.17 | 0.25 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.845 | -80.2641 |  | 18' | 7/16" EHS | 357° | [20 empty] | 101 | [6 empty] | 48
268040734 | 102 |  |  |  |  | 40 | 6.00 KIP CONC | *3ph-de-xarm-5' 4" stl-35kv susp poly-e-11.0.0 f3 | 63' | 102' |  |  |  | 3-CO TRI-MOUNT BKT | 1 | Open Bottom - 4 ft | SHIELD 5" | COND 2" | 1 |  | 18.25 | 0.75 | [10 empty] | 0 |  | 17.25 | 0.75 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 1/0 AL TPX Slack |  |  | 25.8456 | -80.2641 |  | 15' | 7/16" EHS | 176° | [20 empty] | 102 | [6 empty] | 72
271416407 | 103 | [7 empty] | 102' | 88' | 129' |  |  |  | 0 |  | COND 5" |  | 0 |  | 19.9 | 0.25 | [10 empty] | 0 |  | 17.39 | 1 | [18 empty] | 25.8456 | -80.2643 |  | 6' | 7/16" EHS | 92° | [20 empty] | 103
350087830 | 104 |  |  |  |  | 50 | 8.00 KIP CONC | 3PH-TAN-Xarm-8' 6" Stl-69KV PT Poly-E-6.0.1 F1 | 76' | 63' | 65' | 120' | *3PH-DE-Xarm-8' 6" Dbl Stl-45KV Susp Poly-E-10.0.0 F3 |  | 0 | Security Light |  |  | 1 |  | 18 | 0.75 | 18 | 0.75 | [8 empty] | 1 |  | 17 | 0.75 | 17 | 0.5 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8458 | -80.2641 |  | 15' | 5/16" EHS | 180° | [20 empty] | 104 | [6 empty] | 82
350087792 | 106 |  |  |  |  | 50 | 8.00 KIP CONC | *3ph-tan-xarm-8' 6" stl-45kv pt poly-e-6.0.0 f4 | 69' | 76' |  |  |  | 3-CO TRI-MOUNT BKT | 1 |  | PVC U-GUARD 5" |  | 1 |  | 17.85 | 0.75 | [10 empty] | 1 |  | 16.67 | 0.75 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.846 | -80.2641 | [24 empty] | 106 | [6 empty] | 64
4741485 | 107 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Tri-HPB-45KV PT Poly-E-21.0.0 F1 | 193' | 69' | 92' |  |  |  | 0 | Security Light | COND 2" |  | 1 |  | 20.59 | 0.75 | 22.71 | 0.75 | [8 empty] | 1 |  | 19.41 | 0.75 | 19.83 | 1 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8462 | -80.2641 | [24 empty] | 107 | [6 empty] | 143
4549977 | 108 |  |  |  |  | 40 | 5 Wood | *3ph-tan-tri-hpb-35kv pt poly-e-21.0.0 f1 | 67' | 35' | 94' |  | *3ph-tan-tri-hpb-35kv pt poly-e-21.0.0 f1 |  | 0 |  |  |  | 1 |  | 19.95 | 0.75 | 19.94 | 0.75 | [8 empty] | 1 |  | 18.45 | 0.75 | 18.45 | 0.75 | [8 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 3 |  |  |  | 25.8458 | -80.2643 | [24 empty] | 108 | [6 empty] | 146
271965510 | 109 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8458 | -80.2644 | [24 empty] | 109
4456611 | 110 |  |  |  |  | 40 | 4 Wood | 3ph-tan-tri-hpb-35kv pt-e-21.0.0 f1 | 95' | 96' |  |  |  |  | 0 | Open Bottom - 2 ft | PVC U-GUARD 5" |  | 1 |  | 19.02 | 0.75 | [10 empty] | 1 |  | 16.88 | 0.75 | [10 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8458 | -80.2646 | [24 empty] | 110 | [6 empty] | 194
4456581 | 111 |  |  |  |  | 40 | 4 Wood | *3ph-tan-tri-hpb-35kv pt-e-21.0.0 f1 | 96' | 75' |  |  |  |  | 0 | Security Light |  |  | 1 |  | 18.3333 | 0.75 | [10 empty] | 1 |  | 17.3333 | 0.75 | [10 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8458 | -80.2649 | [24 empty] | 111 | [6 empty] | 113
5770887 | 112 |  |  |  |  | 40 | 2 Wood | *3PH-TAN-Tri-HPB-35KV PT Poly-E-21.0.0 F1 | 75' | 59' |  |  |  | TRAN 50 KVA | 1 |  |  |  | 1 |  | 18.38 | 0.75 | [10 empty] | 1 |  | 16.5 | 0.75 | [10 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8457 | -80.2651 | [24 empty] | 112 | [6 empty] | 108
5770833 | 113 |  |  |  |  | 40 | 4 Wood | *3PH-TAN-Tri-HPB-35KV PT Poly-E-21.0.0 F1 | 59' | 61' |  |  |  |  | 0 |  |  |  | 1 |  | 18.5833 | 0.75 | [10 empty] | 1 |  | 16.9167 | 0.75 | [10 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8457 | -80.2653 | [24 empty] | 113 | [6 empty] | 106
6275601 | 114 |  |  |  |  | 40 | 4 Wood | *3PH-TAN-Tri-Wood Pole-45KV PT Poly-E-21.0.0 F1 | 90' | 65' |  |  |  | TRAN 15 KVA | 2 |  |  |  | 1 |  | 20.42 | 1 | [10 empty] | 1 |  | 19.33 | 1 | [10 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | [5 empty] | 25.8457 | -80.2655 | [24 empty] | 114 | [6 empty] | 123
4771311 | 115 |  |  |  |  | 45 | 2 Wood | 3PH-DE-Xarm-8' 6" Stl-35KV Susp Poly-E-10.0.0 F1 | 218' | 88' | 73' |  |  | TRAN 25 KVA | 2 |  |  |  | 1 |  | 20 | 1 | [10 empty] | 0 |  | 17.42 | 1 | [10 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | [5 empty] | 25.8457 | -80.2658 |  | 11' | 7/16" EHS | 270° | [20 empty] | 115 | [6 empty] | 158
4456443 | 116 |  |  |  |  | 45 | 2 Wood | *3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 49' | 218' |  |  |  | 3-CO TRI-MOUNT BKT | 1 |  | PVC U-GUARD 5" |  | 1 |  | 21.5 | 0.75 | [10 empty] | 0 | [13 empty] | 3 | 3/0 ACSR (6/1) | 1/0 AAAC (7) | [5 empty] | 25.8457 | -80.2664 | [24 empty] | 116 | [6 empty] | 82
3912237 | 117 |  |  |  |  | 45 | 2 Wood | 3ph-de-xarm-9' hd dbl wood-45kv susp poly-e-9.0.0 f2 | 30' | 49' |  |  |  | TRAN 50 KVA | 1 |  |  |  | 0 |  | 18.42 | 1.5 | [10 empty] | 0 |  | 17.17 | 1 | [10 empty] | 3 | 3/0 ACSR (6/1) | 1/0 AAAC (7) | [5 empty] | 25.8457 | -80.2666 |  | 18' | 7/16" EHS | 263° | [20 empty] | 117 | [6 empty] | 134
4721505 | 118 |  |  |  |  | 45 | 2 Wood | 3PH-DE-Xarm-5' 4" Stl-45KV Susp Poly-E-11.0.0 F1 | 30' |  |  |  |  | 3Ø RISER / CO / LA ASSEMBLY | 1 |  | SHIELD 4" |  | 0 | [13 empty] | 0 | [13 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | [5 empty] | 25.8456 | -80.2667 |  | 23' | 7/16" EHS | 260° | [20 empty] | 118 | [6 empty] | 73
3912321 | 120 |  |  |  |  | 45 | 3 Wood | 3ph-de-xarm-5' 4" stl-45kv susp poly-e-11.0.0 f1 | 175' | 115' |  |  |  | TRAN 50 KVA | 2 |  |  |  | 1 |  | 20.58 | 1.5 | [10 empty] | 2 |  | 19.83 | 1.5 | 19 | 1.25 | [8 empty] | 3 | 343 ACAR (15/4) Slack | 3/0 AAAC (7) Slack | [5 empty] | 25.8448 | -80.2646 | [24 empty] | 120 | [6 empty] | 242
4456563 | 121 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8448 | -80.265 | [24 empty] | 121
379485845 | 122 |  |  |  |  | 45 | 2 Wood | 3PH-DE-Xarm-8' 6" Dbl Stl-35KV Susp Poly-E-10.0.0 F3 | 107' | 24' | 120' |  |  |  | 0 |  |  |  | 1 |  | 12.92 | 1.5 | 21.5 | 1 | [8 empty] | 1 |  | 12.33 | 1.25 | [10 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | 4 AAAC (7) | 2 |  |  |  | 25.8448 | -80.2653 |  | 20' | 7/16" EHS | 270° |  | 15' | 7/16" EHS | 269° | [16 empty] | 122 | [6 empty] | 73
379485851 | 123 |  |  |  |  | 45 | 2 Wood | *3PH-DE-Xarm-8' 6" Stl-45KV Susp Poly-E-10.0.0 F1 | 70' | 24' |  |  |  |  | 0 |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | [5 empty] | 25.8448 | -80.2654 |  | 24' | 7/16" EHS | 0° | [20 empty] | 123 | [6 empty] | 81
379485863 | 124 |  |  |  |  | 60 | 17.0 KIP CONC | 3ph-de-xarm-8' 6" stl-45kv susp poly-e-10.0.0 f1 | 69' | 51' |  |  |  |  | 0 |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | [5 empty] | 25.8446 | -80.2654 | [24 empty] | 124 | [6 empty] | 91
379485853 | 125 |  |  |  |  | 45 | 2 Wood | 3ph-tan-xarm-8' 6" stl-45kv pt poly-e-6.0.0 f4 | 120' | 51' | 38' |  |  |  | 0 |  |  |  | 0 |  | 22.17 | 0.25 | [10 empty] | 0 |  | 20.83 | 1 | 20.83 | 1.5 | [8 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | [5 empty] | 25.8446 | -80.2655 |  | 22' | 7/16" EHS | 268° | [20 empty] | 125 | [6 empty] | 51
379485855 | 126 |  |  |  |  | 45 | 2 Wood | 3PH-TAN-Xarm-8' 6" Stl-45KV PT Poly-E-6.0.0 F4 | 39' | 120' |  |  |  |  | 0 |  | SHIELD 5" |  | 0 |  | 22.08 | 0.25 | [10 empty] | 0 |  | 20.42 | 1 | [10 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | [5 empty] | 25.8446 | -80.2659 | [24 empty] | 126 | [6 empty] | 52
379485865 | 127 |  |  |  |  | 60 | 17.0 KIP CONC | 3PH-DE-Xarm-8' 6" Stl-45KV Susp Poly-E-10.0.0 F1 | 39' | 44' | 66' |  |  |  | 0 |  |  |  | 0 |  | 22.17 | 0.25 | [10 empty] | 0 |  | 22.17 | 1 | [10 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | [5 empty] | 25.8446 | -80.266 | [24 empty] | 127 | [6 empty] | 75
5226945 | 128 |  |  |  |  | 50 | 8.00 KIP CONC | 3PH-DE-Xarm-8' 6" Stl-45KV Susp Poly-E-10.0.0 F1 | 102' | 44' | 156' |  |  |  | 0 |  | PVC U-GUARD 5" |  | 1 |  | 22 | 1.5 | 22 | 1.5 | [8 empty] | 0 | [13 empty] | 3 | 2 AAAC (7) Slack | 4 AAAC (7) Slack | [5 empty] | 25.8447 | -80.266 | [24 empty] | 128 | [6 empty] | 92
3848511 | 129 |  |  |  |  | 45 | 2 Wood | 3ph-tan-xarm-8' 6" stl-45kv pt poly-e-6.0.0 f4 | 102' | 46' | 99' |  |  |  | 0 |  |  |  | 1 |  | 22 | 1.5 | [10 empty] | 0 |  | 22.25 | 1 | [10 empty] | 3 | 1/0 AAAC (7) Slack | 1/0 AAAC (7) Slack | [5 empty] | 25.8448 | -80.2663 | [24 empty] | 129 | [6 empty] | 126
5224773 | 130 |  |  |  |  | 45 | 1 Wood | 3ph-tan-xarm-8' 6" stl-45kv pt poly-e-6.0.0 f4 | 46' | 99' | 99' |  |  | TRAN 50 KVA | 2 |  |  |  | 1 |  | 22 | 1.5 | [10 empty] | 0 |  | 21.5 | 1 | [10 empty] | 3 | 2 AAAC (7) Slack | 4 AAAC (7) Slack |  | 1 | 6 AL DPX Slack |  |  | 25.8448 | -80.2664 |  | 9' | 7/16" EHS | 77° | [20 empty] | 130 | [6 empty] | 86
271965533 | 131 |  |  |  |  | 40 | 3 Wood | *3ph-tan-tri-wood pole-45kv pt poly-e-21.0.0 f1 | 100' | 43' | 79' |  |  | TRAN 15 KVA | 4 |  | SHIELD 4" |  | 1 |  | 16.42 | 1.5 | [10 empty] | 0 |  | 15.08 | 0.75 | [10 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | [5 empty] | 25.8447 | -80.2667 | [24 empty] | 131 | [6 empty] | 132
6275145 | 132 |  |  |  |  | 40 | 3 Wood | *3ph-tan-tri-wood pole-45kv pt poly-e-21.0.0 f1 | 44' | 63' | 112' |  |  |  | 0 |  |  |  | 2 |  | 16.92 | 1.5 | 14.5 | 1 | [8 empty] | 0 |  | 23.61 | 0.25 | [10 empty] | 3 | 2 AAAC (7) | 4 AAAC (7) | [5 empty] | 25.8447 | -80.2669 | [24 empty] | 132 | [6 empty] | 268
6275031 | 133 |  |  |  |  | 40 | 3 Wood | 3ph-tan-tri-wood pole-45kv pt poly-e-21.0.0 f1 | 63' | 83' |  |  |  | TRAN 50 KVA | 4 | Security Light |  |  | 1 |  | 18.5833 | 1.5 | [10 empty] | 1 |  | 17.5833 | 1 | [10 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8446 | -80.2671 | [24 empty] | 133 | [6 empty] | 154
6016023 | 134 |  |  |  |  | 40 | 4 Wood | 3PH-TAN-Tri-Wood Pole-45KV PT Poly-E-21.0.0 F1 | 83' | 58' |  |  |  | TRAN 50 KVA | 1 | Security Light |  |  | 1 |  | 17 | 1.5 | [10 empty] | 1 |  | 16 | 1 | [10 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8446 | -80.2673 | [24 empty] | 134 | [6 empty] | 154
271965531 | 135 |  |  |  |  | 40 | 3 Wood | *3ph-tan-tri-wood pole-45kv pt poly-e-21.0.0 f1 | 58' | 65' |  |  |  | TRAN 75 KVA | 4 |  | PVC U-GUARD 5" |  | 1 |  | 15 | 1.5 | [10 empty] | 1 |  | 14 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8445 | -80.2675 | [24 empty] | 135 | [6 empty] | 218
5770275 | 136 |  |  |  |  | 40 | 5 Wood | *3PH-TAN-Tri-Wood Pole-45KV PT Poly-E-21.0.0 F1 | 65' | 64' | 112' | 75' |  |  | 0 |  | PVC U-GUARD 2" |  | 1 |  | 15.67 | 1.5 | [10 empty] | 1 |  | 14.5 | 1.5 | 21.2 | 0.25 | [8 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8445 | -80.2677 |  | 22' | 7/16" EHS | 255° | [20 empty] | 136 | [6 empty] | 123
6128379 | 137 |  |  |  |  | 40 | 4 Wood | 3PH-TAN-Tri-Wood Pole-45KV PT Poly-E-21.0.0 F1 | 64' | 85' |  |  |  | TRAN 37.5 KVA | 3 |  | PVC U-GUARD 2" |  | 1 |  | 16.5 | 1.5 | [10 empty] | 1 |  | 15.5833 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | [5 empty] | 25.8445 | -80.2679 | [24 empty] | 137 | [6 empty] | 105
350104770 | 138 |  |  |  |  | 45 | 2 Wood | 3PH-DE-Xarm-9' Dbl Wood-45KV Susp Poly-E-9.0.0 F2 | 85' | 102' | 148' |  | 3PH-DE-Xarm-9' Dbl Wood-45KV Susp Poly-E-9.0.0 F2 |  | 0 |  | PVC U-GUARD 5" |  | 1 |  | 21 | 1.5 | 21 | 1.5 | [8 empty] | 1 |  | 20 | 1.5 | 20 | 1.5 | [8 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) | [5 empty] | 25.8444 | -80.2681 |  | 24' | 7/16" EHS | 0° |  | 24' | 7/16" EHS | 87° | [16 empty] | 138 | [6 empty] | 62
352078190 | 139 |  |  |  |  | 45 | 2 Wood | 3PH-TAN-Xarm-8' 6" Stl-45KV PT Poly-E-6.0.0 F4 | 102' | 53' |  |  |  | TRAN 50 KVA | 2 |  | PVC U-GUARD 5" |  | 1 |  | 21 | 0.75 | [10 empty] | 1 |  | 20 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 1/0 AL TPX SEC |  |  | 25.8444 | -80.2684 |  | 21' | 7/16" EHS | 357° | [20 empty] | 139 | [6 empty] | 127
352078195 | 140 |  |  |  |  | 45 | 1 Wood | 3PH-TAN-Xarm-8' 6" Stl-45KV PT Poly-E-6.0.0 F4 | 53' | 49' | 88' | 93' |  | TRAN 50 KVA | 3 |  |  |  | 1 |  | 21 | 0.75 | [10 empty] | 1 |  | 20 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 1/0 AL TPX SEC |  |  | 25.8444 | -80.2686 |  | 8' | 7/16" EHS | 72° | [20 empty] | 140 | [6 empty] | 86
352078200 | 141 |  |  |  |  | 45 | 1 Wood | 3PH-TAN-Xarm-8' 6" Stl-45KV PT Poly-E-6.0.0 F4 | 49' | 99' |  |  |  | TRAN 50 KVA | 2 |  |  |  | 1 |  | 16.33 | 0.75 | [10 empty] | 1 |  | 15.25 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 1/0 AL TPX SEC |  |  | 25.8444 | -80.2687 | [24 empty] | 141 | [6 empty] | 117
352078206 | 142 |  |  |  |  | 45 | 1 Wood | 3PH-TAN-Xarm-8' 6" Stl-45KV PT Poly-E-6.0.0 F4 | 99' | 70' |  |  |  |  | 0 |  |  |  | 1 |  | 16.74 | 0.75 | [10 empty] | 1 |  | 15.38 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 3/0 AL QPX LASHED SEC |  |  | 25.8444 | -80.269 | [24 empty] | 142 | [6 empty] | 90
5218149 | 143 |  |  |  |  | 45 | 2 Wood | 3PH-DE-Xarm-8' 6" Stl-45KV Susp Poly-E-10.0.0 F1 | 70' | 27' |  |  |  | 3-CO TRI-MOUNT BKT | 2 |  | PVC U-GUARD 5" |  | 1 |  | 17.26 | 0.75 | [10 empty] | 1 |  | 16.18 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 1/0 AAAC (7) |  | 1 | 1/0 AL TPX SEC |  |  | 25.8444 | -80.2692 |  | 16' | 7/16" EHS | 266° |  | 12' | 7/16" EHS | 266° | [16 empty] | 143 | [6 empty] | 70
270842966 | 144 | [7 empty] | 94' | 178' | 92' |  |  |  | 0 |  |  |  | 0 |  | 23.42 | 1.5 | [10 empty] | 0 |  | 21.89 | 1.5 | [18 empty] | 25.8444 | -80.2693 | [24 empty] | 144
350087785 | 145 |  |  |  |  | 50 | 8.00 KIP CONC | 3PH-TAN-Xarm-8' 6" Stl-45KV PT Poly-E-6.0.0 F4 | 48' | 52' |  |  |  | 3-CO TRI-MOUNT BKT | 1 |  | PVC U-GUARD 5" |  | 1 |  | 19.38 | 0.75 | [10 empty] | 1 |  | 18.45 | 1 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 6 AL DPX SEC |  |  | 25.8447 | -80.2641 | [24 empty] | 145 | [6 empty] | 58
270741648 | 146 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8446 | -80.2642 | [24 empty] | 146
322849207 | 147 |  |  |  |  | 50 | 12.0 KIP CONC | *3PH-TAN-Xarm-8' 6" Stl-45KV PT Poly-E-6.0.1 F1 | 52' | 237' |  |  |  | REC 3 PHASE | 1 | Cobra Head - 6 ft |  |  | 1 |  | 19.71 | 0.75 | [10 empty] | 1 |  | 18.71 | 1 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8446 | -80.2641 | [24 empty] | 147 | [6 empty] | 75
3912357 | 149 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Tri-Wood Pole-45KV PC Hor-E-21.0.0 F1 | 237' | 216' | 68' | 110' |  | TRAN 50 KVA | 1 |  |  |  | 1 |  | 19.62 | 0.75 | 19.62 | 0.75 | [8 empty] | 1 |  | 18 | 0.75 | 18 | 1 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8439 | -80.264 | [24 empty] | 149 | [6 empty] | 185
6354597 | 150 |  |  |  |  | 45 | 3 Wood | 3ph-tan-tri-wood pole-45kv pc hor-e-21.0.0 f1 | 216' | 106' |  |  |  | 3-CO TRI-MOUNT BKT | 2 | Cobra Head - 6 ft |  |  | 1 |  | 21.21 | 0.75 | [10 empty] | 1 |  | 19.69 | 0.75 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8433 | -80.264 | [24 empty] | 150 | [6 empty] | 149
354249707 | 151 | [7 empty] | 136' | 158' |  |  |  |  | 0 |  |  |  | 0 |  | 22.33 | 0.25 | [10 empty] | 0 | [21 empty] | 25.8432 | -80.2642 | [24 empty] | 151
271825808 | 152 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8431 | -80.2642 | [24 empty] | 152
5893479 | 153 | [7 empty] | 148' | 136' |  |  |  |  | 0 |  | SHIELD 5" |  | 0 |  | 22.17 | 0.75 | [10 empty] | 0 | [21 empty] | 25.843 | -80.2642 | [24 empty] | 153
3912381 | 154 |  |  |  |  | 45 | 3 Wood | 3PH-TAN-Tri-Wood Pole-45KV PC Hor-E-21.0.0 F1 | 106' | 200' | 57' | 137' |  | 1-LA | 2 | Open Bottom - 2 ft | SHIELD 2" |  | 1 |  | 23.22 | 1.5 | 23.22 | 0.25 | 21.94 | 0.75 | [6 empty] | 1 |  | 21.45 | 0.75 | 21.45 | 0.75 | [8 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.843 | -80.264 | [24 empty] | 154 | [6 empty] | 214
3900897 | 156 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 200' | 108' |  |  |  | 1-LA | 2 | Cobra Head - 6 ft |  |  | 1 |  | 20.58 | 1.5 | [10 empty] | 1 |  | 19.33 | 0.75 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8425 | -80.264 | [24 empty] | 156 | [6 empty] | 182
3912393 | 157 |  |  |  |  | 55 | 2 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 123' | 134' | 204' | 110' | *3PH-TAN-Xarm-8' 6" Stl-35KV PT-E-6.0.1 F1 NUET | Control Box | 1 |  |  |  | 1 |  | 20 | 0.75 | [10 empty] | 1 |  | 21.67 | 0.75 | [10 empty] | 1 | 2 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8422 | -80.264 | [24 empty] | 157 | [6 empty] | 208
3912399 | 158 |  |  |  |  | 45 | 2 Wood | *3PH-DE-Xarm-9' Dbl Wood-45KV Susp Poly-E-9.0.0 F1 NUET | 176' | 204' | 123' | 127' |  |  | 0 |  |  |  | 0 |  | 20.13 | 0.75 | [10 empty] | 0 |  | 19.26 | 1.25 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8416 | -80.2639 | [24 empty] | 158 | [6 empty] | 134
272337734 | 159 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8415 | -80.2641 | [24 empty] | 159
3912405 | 160 |  |  |  |  | 45 | 2 Wood |  | 81' | 55' | 136' | 176' |  |  | 0 |  | SHIELD 2" |  | 1 |  | 20.28 | 0.75 | [10 empty] | 1 |  | 19.08 | 1.5 | [10 empty] | 1 | 1/0 AAAC (7) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8411 | -80.2639 |  | 27' | 7/16" EHS | 180° | [20 empty] | 160 | [6 empty] | 116
-99987 | 161 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8412 | -80.2641 | [24 empty] | 161
270842971 | 162 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8411 | -80.2641 | [24 empty] | 162
272340377 | 163 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8408 | -80.2641 | [24 empty] | 163
3900903 | 164 |  |  |  |  | 45 | 3 Wood | * | 136' | 184' |  |  |  |  | 0 |  | SHIELD 5" |  | 0 |  | 22.67 | 0.75 | [10 empty] | 0 |  | 20.25 | 1 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8408 | -80.2639 | [24 empty] | 164 | [6 empty] | 110
273823575 | 165 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8406 | -80.2641 | [24 empty] | 165
4655565 | 166 |  |  |  |  | 45 | 3 Wood | *3ph-tan-mod tri-hpb-35kv pt-e-21.0.0 f1 alt | 147' | 122' | 188' | 130' | *3ph-tan-tri-wood pole-45kv pc hor-e-21.0.0 f1 |  | 0 |  | SHIELD 2" |  | 1 |  | 19.75 | 1 | [10 empty] | 1 |  | 18.8333 | 1.5 | [10 empty] | 3 | 3/0 AAAC (7) | 1/0 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8403 | -80.2639 | [24 empty] | 166 | [6 empty] | 186
4655571 | 168 |  |  |  |  | 40 | 3 Wood | 3ph-tan-xarm-8' 6" stl-35kv pt-e-6.0.1 f1 | 132' | 65' |  |  |  | TRAN 25 KVA | 2 |  | PVC U-GUARD 2" |  | 0 | [13 empty] | 0 | [13 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8399 | -80.2639 | [24 empty] | 168 | [6 empty] | 113
-99986 | 169 | [7 empty] | 127' | 127' |  |  |  |  | 0 |  |  |  | 0 |  | 24.75 | 0.75 | [10 empty] | 0 |  | 23.42 | 1 | [18 empty] | 25.8399 | -80.264 | [24 empty] | 169
273801599 | 170 | [7 empty] | 102' | 127' | 146' | 122' |  |  | 0 |  |  |  | 0 |  | 24.67 | 0.75 | 24.67 | 1.5 | [8 empty] | 0 |  | 21 | 1 | 22.33 | 0.75 | [16 empty] | 25.8399 | -80.264 | [24 empty] | 170
-99973 | 171 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8403 | -80.264 | [24 empty] | 171
4655265 | 172 |  |  |  |  | 40 | 3 Wood | 3PH-TAN-OHGW-Xarm-9' Wood-45KV PT-E-18.1.1 F1 | 122' | 121' |  |  |  | TRAN 50 KVA | 1 |  |  |  | 1 |  | 18 | 1 | [10 empty] | 1 |  | 17 | 1.5 | [10 empty] | 3 | 3/0 AAAC (7) | 1/0 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8402 | -80.2643 | [24 empty] | 172 | [6 empty] | 161
4655073 | 173 |  |  |  |  | 35 | 4 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 121' | 103' |  |  |  | TRAN 37.5 KVA | 1 | Security Light | PVC U-GUARD 5" |  | 1 |  | 19.0833 | 1 | [10 empty] | 1 |  | 16.6667 | 1.5 | [10 empty] | 3 | 3/0 AAAC (7) | 1/0 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8402 | -80.2646 | [24 empty] | 173 | [6 empty] | 208
4549647 | 174 |  |  |  |  | 35 | 5 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 103' | 103' |  |  |  |  | 0 | Security Light | SHIELD 2" |  | 1 |  | 18 | 1 | [10 empty] | 1 |  | 15.3333 | 1.5 | [10 empty] | 3 | 3/0 AAAC (7) | 1/0 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8402 | -80.2649 | [24 empty] | 174 | [6 empty] | 197
4654683 | 175 |  |  |  |  | 40 | 3 Wood | 3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 103' | 79' |  |  |  | TRAN 50 KVA | 1 |  | PVC U-GUARD 2" |  | 1 |  | 17.6667 | 1 | [10 empty] | 1 |  | 14 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) Slack | 2 |  |  |  | 25.8402 | -80.2652 | [24 empty] | 175 | [6 empty] | 136
4654539 | 176 |  |  |  |  | 40 | 3 Wood | 2PH-DE-Xarm-9' HD Dbl Wood-45KV Susp Poly-E-9.0.0 F2 NUET | 79' | 72' |  |  |  |  | 0 |  |  |  | 1 |  | 18.0833 | 1 | [10 empty] | 1 |  | 14.9167 | 1.5 | [10 empty] | 3 | 3/0 AAAC (7) | 1/0 AAAC (7) | [5 empty] | 25.8402 | -80.2655 |  | 22' | 7/16" EHS | 267° |  | 25' | 7/16" EHS | 267° | [16 empty] | 176 | [6 empty] | 109
4614975 | 177 |  |  |  |  | 40 | 3 Wood | 3PH-TAN-OHGW-Xarm-9' Wood-45KV PT-E-18.1.1 F1 | 72' | 46' |  |  |  |  | 0 |  |  |  | 1 |  | 17.91 | 1 | [10 empty] | 1 |  | 16.16 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8402 | -80.2657 | [24 empty] | 177 | [6 empty] | 82
4614969 | 178 |  |  |  |  | 45 | 2.60 KIP CONC | 3ph-tan-tri-conc pole-45kv pc hor-e-21.0.0 f1 | 46' | 151' | 150' |  |  |  | 0 |  | COND 2" |  | 1 |  | 20.4167 | 1 | [10 empty] | 0 |  | 16.83 | 1 | [10 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8402 | -80.2658 |  | 20' | 7/16" EHS | 356° |  | 18' | 7/16" EHS | 356° | [16 empty] | 178 | [6 empty] | 67
3741849 | 179 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 95' | 151' | 150' |  |  |  | 0 |  |  |  | 1 |  | 21.5833 | 1 | 20.42 | 0.75 | [8 empty] | 1 |  | 17.9167 | 1.5 | 19.33 | 0.25 | 18.33 | 1.5 | [6 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8401 | -80.2663 | [24 empty] | 179 | [6 empty] | 137
4614939 | 180 |  |  |  |  | 45 | 4 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 66' | 95' | 51' | 48' |  |  | 0 |  |  |  | 1 |  | 17.5833 | 1 | 19.67 | 0.75 | 19.33 | 1 | [6 empty] | 1 |  | 14.25 | 1.5 | 17.92 | 1 | 16.33 | 0.75 | 17.92 | 1.5 |  |  |  |  | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) Slack | 2 |  |  |  | 25.8401 | -80.2666 | [24 empty] | 180 | [6 empty] | 106
4653777 | 181 |  |  |  |  | 45 | 3 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 79' | 66' |  |  |  | TRAN 50 KVA | 1 |  |  |  | 1 |  | 18.75 | 1 | [10 empty] | 1 |  | 17 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) |  |  | 1 | 1/0 AL TPX SEC |  |  | 25.8401 | -80.2668 | [24 empty] | 181 | [6 empty] | 117
4614897 | 182 |  |  |  |  | 40 | 3 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 93' | 80' |  |  |  |  | 0 |  |  |  | 1 |  | 18.3333 | 1 | [10 empty] | 1 |  | 17 | 1.5 | [10 empty] | 3 | 1/0 AAAC (7) |  |  | 1 | 1/0 AL TPX SEC |  |  | 25.84 | -80.267 | [24 empty] | 182 | [6 empty] | 94
4622949 | 183 |  |  |  |  | 40 | 2 Wood | *3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 104' | 93' |  |  |  | TRAN 50 KVA | 1 |  | PVC U-GUARD 2" |  | 1 |  | 17.4167 | 1 | 23.75 | 0.75 | [8 empty] | 1 |  | 16.25 | 1.5 | 21.75 | 1.5 | 20.75 | 0.75 | [6 empty] | 3 | 1/0 AAAC (7) |  |  | 1 | 1/0 AL TPX SEC |  |  | 25.84 | -80.2673 | [24 empty] | 183 | [6 empty] | 127
4614861 | 184 |  |  |  |  | 40 | 3 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 80' | 104' | 68' | 197' |  |  | 0 |  | COND 2" |  | 1 |  | 21.9167 | 1 | [10 empty] | 1 |  | 20.25 | 1.5 | 17.83 | 1.5 | 17.42 | 0.75 | [6 empty] | 3 | 1/0 AAAC (7) | 2 AAAC (7) | 1/0 AAAC (7) Slack | 2 |  |  |  | 25.8399 | -80.2676 |  | 27' | 7/16" EHS | 87° | [20 empty] | 184 | [6 empty] | 148
268907528 | 185 |  |  |  |  | 40 | 2 Wood | *3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 48' | 81' |  |  |  | TRAN 25 KVA | 1 |  | COND 2" |  | 1 |  | 18.5833 | 1 | [10 empty] | 1 |  | 17 | 1.5 | [10 empty] | 3 | 1/0 HD CU (7) | 2 AAAC (7) | [5 empty] | 25.8399 | -80.2678 | [24 empty] | 185 | [6 empty] | 117
6533418 | 186 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8399 | -80.268 | [24 empty] | 186
4652895 | 187 |  |  |  |  | 40 | 5 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 94' | 111' |  |  |  | TRAN 50 KVA | 1 |  | PVC U-GUARD 2" | PVC U-GUARD 2" | 1 |  | 18.75 | 1 | [10 empty] | 1 |  | 16.9167 | 1.5 | 18.25 | 1.5 | 17.08 | 0.75 | 20.67 | 1 |  |  |  |  | 3 | 1/0 HD CU (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8399 | -80.2683 | [24 empty] | 187 | [6 empty] | 265
4614825 | 188 |  |  |  |  | 40 | 5 Wood | 3ph-tan-xarm-9' wood-45kv pt poly-e-6.0.0 f1 | 105' | 94' |  |  |  |  | 0 |  |  |  | 1 |  | 19.42 | 1 | [10 empty] | 1 |  | 16.42 | 1.5 | [10 empty] | 3 | 1/0 HD CU (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8399 | -80.2686 | [24 empty] | 188 | [6 empty] | 216
4652625 | 189 |  |  |  |  | 40 | 2 Wood | *3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 96' | 105' |  |  |  | TRAN 37.5 KVA | 1 |  |  |  | 1 |  | 21.83 | 1 | [10 empty] | 1 |  | 20.83 | 1.5 | [10 empty] | 3 | 1/0 HD CU (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8399 | -80.2689 | [24 empty] | 189 | [6 empty] | 130
4652349 | 190 |  |  |  |  | 40 | 5 Wood | 3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 102' | 96' |  |  |  | TRAN 50 KVA | 1 | Security Light | COND 2" |  | 0 | [13 empty] | 2 |  | 19.25 | 1.25 | 16.5 | 1 | [8 empty] | 3 | 1/0 HD CU (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8399 | -80.2692 | [24 empty] | 190 | [6 empty] | 210
4652169 | 191 |  |  |  |  | 40 | 2 Wood | *3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 103' | 102' |  |  |  |  | 0 |  |  |  | 1 |  | 20.6667 | 1.5 | [10 empty] | 1 |  | 19.6667 | 1 | [10 empty] | 3 | 1/0 HD CU (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8398 | -80.2695 | [24 empty] | 191 | [6 empty] | 113
3951933 | 192 |  |  |  |  | 45 | 2 Wood | *3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 130' | 130' | 105' | 103' | *3PH-DE-Xarm-8' 10" Dbl FG-45KV Susp Poly-E-10.0.0 F3 | TRAN 50 KVA | 1 |  | PVC U-GUARD 2" |  | 0 |  | 21.25 | 1 | [10 empty] | 1 |  | 21.25 | 0.25 | [10 empty] | 3 | 1/0 HD CU (7) | 2 HD CU (7) | 2 HD CU (7) Slack | 2 |  |  |  | 25.8398 | -80.2698 |  | 17' | 7/16" EHS | 271° | [20 empty] | 192 | [6 empty] | 112
354341041 | 194 |  |  |  |  | 50 | 8.00 KIP CONC | 3ph-tan-xarm-8' 6" stl-45kv pc top poly-e-6.0.1 f1 | 130' | 204' |  |  |  | REC 3 PHASE | 1 |  |  |  | 0 | [13 empty] | 1 |  | 19.41 | 0.25 | [10 empty] | 3 | 1/0 HD CU (7) | 2 HD CU (7) | [5 empty] | 25.8395 | -80.2698 | [24 empty] | 194 | [6 empty] | 89
272301850 | 195 | [7 empty] | 40' | 78' |  |  |  |  | 0 |  |  |  | 0 |  | 21.13 | 1 | 20.13 | 2 | [8 empty] | 0 |  | 18.79 | 2 | [18 empty] | 25.8393 | -80.27 |  | 16' | 5/16" EHS | 268° | [20 empty] | 195
273823592 | 196 | [7 empty] | 85' | 78' |  |  |  |  | 0 |  |  |  | 0 |  | 21.74 | 1 | 20.21 | 2 | [8 empty] | 0 |  | 18.57 | 2.25 | [18 empty] | 25.8398 | -80.27 | [24 empty] | 196
4456047 | 198 |  |  |  |  | 45 | 4 Wood | *3PH-TAN-Xarm-9' Wood-45KV PT Poly-E-6.0.0 F1 | 98' | 130' |  |  |  |  | 0 |  |  |  | 1 |  | 21.8333 | 0.25 | 20.16 | 2 | [8 empty] | 0 |  | 18.84 | 2 | [10 empty] | 3 | 1/0 HD CU (7) | 2 HD CU (7) | [5 empty] | 25.8402 | -80.2699 | [24 empty] | 198 | [6 empty] | 143
4456041 | 199 |  |  |  |  | 40 | 5 Wood | *3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 104' | 98' |  |  |  |  | 0 |  |  |  | 1 |  | 21.58 | 0.25 | 21.5833 | 1.5 | [8 empty] | 1 |  | 19.49 | 0.25 | [10 empty] | 3 | 1/0 HD CU (7) | 2 HD CU (7) | [5 empty] | 25.8405 | -80.2699 | [24 empty] | 199 | [6 empty] | 100
273823584 | 200 | [7 empty] | 95' | 96' |  |  |  |  | 0 |  |  |  | 0 |  | 21.5833 | 0.75 | 20.25 | 1.5 | [8 empty] | 0 |  | 18.25 | 1 | [18 empty] | 25.8406 | -80.2701 | [24 empty] | 200
4547577 | 201 |  |  |  |  | 45 | 4 Wood | *3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 118' | 104' | 103' | 108' | *3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | TRAN 37.5 KVA | 1 |  | COND 2" |  | 0 |  | 20.92 | 1.5 | [10 empty] | 1 |  | 18.33 | 0.75 | [10 empty] | 3 | 1/0 HD CU (7) | 2 HD CU (7) |  | 1 | 6 AL DPX Slack |  |  | 25.8407 | -80.2699 | [24 empty] | 201 | [6 empty] | 179
4782315 | 202 |  |  |  |  | 45 | 1 Wood | 3ph-tan-xarm-8' 10" fg-45kv pt poly-e-6.0.1 f1 | 70' | 118' |  |  |  | TRAN 25 KVA | 1 |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 3 | 1/0 HD CU (7) | 2 HD CU (7) | [5 empty] | 25.8411 | -80.2699 |  | 20' | 7/16" EHS | 177° | [20 empty] | 202 | [6 empty] | 70
6533472 | 203 | [7 empty] | 112' | 106' | 147' | 118' |  |  | 0 |  |  |  | 0 |  | 20.09 | 1 | [10 empty] | 0 |  | 17.94 | 1 | 19.01 | 1 | [16 empty] | 25.8413 | -80.2699 | [24 empty] | 203
4547691 | 207 |  |  |  |  | 35 | 3 Wood | *3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 106' | 101' |  |  |  | TRAN 37.5 KVA | 1 |  |  |  | 1 |  | 16.7 | 1.5 | [10 empty] | 1 |  | 15.64 | 1 | [10 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) |  | 1 | 1/0 AL TPX Slack |  |  | 25.8413 | -80.2696 | [24 empty] | 207 | [6 empty] | 157
6545814 | 208 | [7 empty] | 103' | 115' | 62' |  |  |  | 0 |  |  |  | 0 |  | 19.78 | 1 | [10 empty] | 0 |  | 18.04 | 1 | [18 empty] | 25.8413 | -80.2693 | [24 empty] | 208
4547871 | 211 |  |  |  |  | 40 | 3 Wood | *3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 49' | 108' | 30' | 30' |  |  | 0 |  |  |  | 1 |  | 20.4 | 1.5 | [10 empty] | 1 |  | 18.79 | 1 | 18.75 | 0.75 | [8 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | [5 empty] | 25.8413 | -80.2691 | [24 empty] | 211 | [6 empty] | 107
5219811 | 212 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8411 | -80.2688 | [24 empty] | 212
6533454 | 213 | [7 empty] | 101' | 148' | 49' |  |  |  | 0 |  |  |  | 0 |  | 17.75 | 1 | 17.71 | 1 | [8 empty] | 0 |  | 16 | 1 | 16.01 | 1 | [16 empty] | 25.8413 | -80.2688 |  | 15' | 9/16" EHS | 268° |  | 10' | 7/16" EHS | 268° | [16 empty] | 213
3860595 | 217 |  |  |  |  | 40 | 3 Wood | *3ph-tan-xarm-9' wood-35kv pt-e-6.0.0 f1 | 92' | 100' | 58' | 58' |  | TRAN 75 KVA | 1 |  |  |  | 1 |  | 18.0833 | 0.75 | [10 empty] | 1 |  | 15.8333 | 1 | 15.8333 | 0.75 | 15.84 | 2 | [6 empty] | 3 | 2 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8413 | -80.2685 | [24 empty] | 217 | [6 empty] | 126
4548207 | 219 |  |  |  |  | 40 | 4 Wood | 3PH-DE-Xarm-9' HD Dbl Wood-45KV Susp Poly-E-9.0.0 F2 | 100' | 58' | 105' | 42' |  | TRAN 37.5 KVA | 2 | Open Bottom - 2 ft |  |  | 1 |  | 17.36 | 0.75 | 19.32 | 0.75 | [8 empty] | 1 |  | 15.52 | 1 | 17.29 | 2 | 15.6 | 2 | 18.33 | 1 |  |  |  |  | 3 | 2 AAAC (7) | 2 AAAC (7) | 2 AAAC (7) | 2 |  |  |  | 25.8413 | -80.2682 | [24 empty] | 219 | [6 empty] | 143
6533460 | 220 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8413 | -80.2681 | [24 empty] | 220
4548339 | 222 |  |  |  |  | 40 | 2 Wood | 1ph-tan-mod ver-ptb-35kv pt-e-5.1.0 f1 | 51' | 80' |  |  |  |  | 0 |  |  |  | 1 |  | 17 | 0.75 | [10 empty] | 1 |  | 16 | 0.75 | [10 empty] | 1 | 2 AAAC (7) | 2 AAAC (7) | [5 empty] | 25.8413 | -80.2679 |  | 22' | 1/2" AW | 86° |  | 19' | 1/2" AW | 86° |  | 16' | 1/2" AW | 86° | [12 empty] | 222 | [6 empty] | 52
273195662 | 223 | [7 empty] | 158' | 27' | 123' |  |  |  | 0 |  |  |  | 0 |  | 21.97 | 1.5 | [10 empty] | 0 |  | 21.02 | 1.5 | 20.04 | 2 | 18.7 | 1.5 | 21.02 | 0.75 | [12 empty] | 25.8411 | -80.2701 |  | 22' | 5/16" EHS | 88° | [20 empty] | 223
4547433 | 224 |  |  |  |  | 35 | 4 Wood | *3ph-tan-avian xarm-9' wood-35kv pt-e-31.1.1 | 99' | 106' |  |  |  | TRAN 50 KVA | 1 |  |  |  | 1 |  | 18 | 1 | [10 empty] | 1 |  | 16.42 | 1 | 22.35 | 1.5 | 21.35 | 1.5 | 20.25 | 1.5 |  |  |  |  | 3 | 2 HD CU (7) | 4 HD CU (1) |  | 1 | 2 AL TPX Slack |  |  | 25.8412 | -80.2702 | [24 empty] | 224 | [6 empty] | 179
272335901 | 225 | [7 empty] | 82' | 193' | 105' | 55' |  |  | 0 |  |  |  | 0 |  | 22.72 | 1.5 | 22.72 | 0.75 | [8 empty] | 0 |  | 21.05 | 1.5 | 18.96 | 1.5 | 17.58 | 1.5 | 14.63 | 1 | [12 empty] | 25.8411 | -80.2704 | [24 empty] | 225
6533466 | 226 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8412 | -80.2705 | [24 empty] | 226
4547091 | 228 |  |  |  |  | 35 | 4 Wood | *3PH-TAN-Xarm-8' 10" FG-45KV PT Poly-E-6.0.1 F1 | 151' | 101' | 37' | 33' |  | TRAN 75 KVA | 2 |  |  |  | 1 |  | 16.34 | 1.5 | 16.34 | 1 | [8 empty] | 1 |  | 15.06 | 1.25 | 15.06 | 0.75 | [8 empty] | 3 | 568 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 2 AL TPX Slack |  |  | 25.8412 | -80.2708 | [24 empty] | 228 | [6 empty] | 309
5215833 | 229 | [7 empty] | 147' | 86' | 215' |  |  |  | 0 |  |  |  | 0 |  | 21.23 | 0.75 | [10 empty] | 0 |  | 19.69 | 0.75 | [18 empty] | 25.8411 | -80.2709 | [24 empty] | 229
3978639 | 230 | [7 empty] | 192' | 87' | 36' |  |  |  | 0 |  |  |  | 0 |  | 21.32 | 1.5 | 21.32 | 0.25 | [8 empty] | 0 |  | 20.27 | 1.5 | 19.29 | 1.5 | 18.13 | 1.5 | [14 empty] | 25.8412 | -80.2713 | [24 empty] | 230
273195660 | 232 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8411 | -80.2713 | [24 empty] | 232
3541790 | 234 | [7 empty] | 87' | 113' | 49' |  |  |  | 0 |  |  |  | 0 |  | 21.75 | 2 | 21.75 | 0.75 | [8 empty] | 0 |  | 20.17 | 2 | 18.67 | 0.25 | 17.25 | 0.25 | [14 empty] | 25.8412 | -80.2719 |  | 22' | 5/16" EHS | 177° | [20 empty] | 234
3703701 | 236 |  |  |  |  | 40 | 2 Wood | *3ph-de-xarm-9' hd dbl wood-45kv susp poly-e-9.0.0 f2 | 70' | 87' |  |  |  | Horz Gang Switch | 1 |  |  |  | 1 |  | 18.41 | 0.75 | [10 empty] | 1 |  | 15.03 | 0.75 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) |  | 1 | 2 AL TPX Slack |  |  | 25.8412 | -80.2722 |  | 26' | 7/16" EHS | 88° | [20 empty] | 236 | [6 empty] | 164
3703689 | 238 |  |  |  |  | 40 | 3 Wood | *3PH-TAN-Xarm-9' Wood-35KV PT-E-6.0.0 F1 | 98' | 71' |  |  |  | TRAN 10 KVA | 2 |  |  |  | 1 |  | 17.3333 | 0.75 | [10 empty] | 1 |  | 19.25 | 0.75 | [10 empty] | 3 | 343 ACAR (15/4) | 3/0 AAAC (7) | [5 empty] | 25.8412 | -80.2724 | [24 empty] | 238 | [6 empty] | 170
3799197 | 239 | [7 empty] | 106' | 114' |  |  |  |  | 0 |  |  |  | 0 |  | 21.5 | 0.75 | [10 empty] | 0 |  | 19.83 | 1 | [18 empty] | 25.8448 | -80.266 | [24 empty] | 239
273801593 | 240 | [7 empty] | 114' | 80' |  |  |  |  | 0 |  |  |  | 0 |  | 21.75 | 0.75 | [10 empty] | 0 |  | 19.17 | 1 | [18 empty] | 25.8406 | -80.2638 | [24 empty] | 240
272269881 | 241 | [7 empty] | 37' | 80' |  |  |  |  | 0 |  |  |  | 0 |  | 19 | 0.75 | [10 empty] | 0 |  | 17 | 1 | [18 empty] | 25.8446 | -80.2681 | [24 empty] | 241
272338586 | 242 | [7 empty] | 121' | 37' | 55' |  |  |  | 0 |  | PVC U-GUARD 2" |  | 0 |  | 20 | 0.75 | [10 empty] | 0 |  | 18 | 1 | [18 empty] | 25.8449 | -80.2663 | [24 empty] | 242
3703971 | 243 | [13 empty] | 0 |  |  |  | 0 | [13 empty] | 0 | [21 empty] | 25.8447 | -80.2666 | [24 empty] | 243
6143505 | 257 |  |  |  |  | 40 | 4 Wood | *3ph-tan-xarm-9' dbl wood-45kv pt poly-e-6.0.0 f2 | 121' | 268' | 87' | 77' |  | Horz Gang Switch | 1 |  |  |  | 1 |  | 19.08 | 0.75 | 21.08 | 0.75 | [8 empty] | 1 |  | 17.67 | 1 | [10 empty] | 3 | 336 ACSR (18/1) | 1/0 AAAC (7) | 1/0 AAAC (7) | 2 |  |  |  | 25.8204 | -80.2321 | [24 empty] | 257 | [5 empty] | 0.53241 | 268